## Sheet1
S.No. | Tag | Description
Primary Crusher MCC
1 | 1101DS01 | Dust suppression system-1
2 | 1101DS02 | Dust suppression system-2
3 | 1101AF01 | Apron feeder
4 | 1101SX01 | Scraper Conveyor
5 | 1101WB01
6 | 1101WB01A | Wobbler feeder
7 |  | LRS Supply Primary Crusher
8 |  | LRS Pump Primary Crusher
9 | 1101EH01 | EOT Crane for Primary crusher
10 | 1101FN01 | Bag filter fan for primary crusher
11 | 1101RA01 | RAL for 1101FN01
12 | 1101RA01A | RAL for 1101FN01
13 |  | Raw water pump for primary crusher
14 |  | Raw water pump for primary crusher
15 |  | Dewatering Pump
16 |  | Dewatering Pump
17 |  | Dewatering Pump
18 |  | Dewatering Pump
19 |  | Battery Charger
20 |  | Lighting trafo
21 |  | Lubrication system
22 |  | P&V Pump
23 |  | P&V Pump
24 |  | P&V Blower
25 | 1101CP01 | Compressor
26 | 1101CP02 | Compressor
27 | 1101HS01 | Hydraulic System Primary crusher
28 | 1101CR01-LS01 | Lubrication System Primary crusher
29 | 1101BC01 | Belt Conveyor below Primary Crusher
30 | 1101BC03 | Reversible Belt conveyor
Secondary Crusher MCC
31 | 1101RS01 | Roller Screen
32 | 1101FN02 | Bag filter fan for secondary crusher
33 | 1101RA02 | RAL for 1101FN02
34 | 1101HS02 | Hydraulic System Secondary crusher
35 | 1101CR02-LS02 | Lubrication System Secondary crusher
36 | 1101EH02 | EOT Crane for Secondary Crusher
37 | 1102FN01 | Bag filter fan at TT-1
38 | 1102RA01 | RAL for 1102FN01
39 | 1102BC01 | Belt Conveyor below Secondary Crusher
40 | 1101VS01-2 | Omini Screen
41 | 1101VS03-4 | Omini Screen
42 | 1101FN03 | Bag filter fan for Screen house
43 | 1101RA03 | RAL for 1101FN3
44 | 1103BC01 | Omani screen discharge conveyor
45 | 1103BC02 | Omani screen discharge to reject hopper
46 | 1103DG01 | Diverting Gate at reject hopper at crushing section
47 | 1103VIB01 | Vibrator
48 | 1103FN01 | Bag filter fan for L.S. Hopper
49 | 1103RA03 | RAL for 1103FN01
50 | 1103WF01 | Weigh Feeder
51 |  | Battery Charger
52 |  | Lighting trafo
53 |  | P&V Pump
54 |  | P&V Pump
55 |  | P&V Blower
56 |  | Water pump for secondary crusher - 1
57 |  | Water pump for secondary crusher - 2
58 |  | UPS JB to IMCC
59 |  | Inst Supply
60 |  | UPS
Limestone Handling MCC
61 | 1102DG01 | Diverting Gate at LSH TT1 after Sec. crusher
62 | 1102FN02 | Bag filter fan for 1201BC01
63 | 1102RA02 | RAL for 1102FN02
64 | 1102CBA01 | Cross Belt Analyser
65 | 1201MS01 | Magnetic Separator
66 | 1201MS01-BC01 | Magnetic Separator Belt
67 | 1102FN03 | Bag Filter fan at LSH-TT03
68 | 1102RA03 | Rotary air lock for 1102FN03
69 | 1102FN04 | Bag Filter fan at LSH-TT04
70 | 1102RA04 | Rotary air lock for 1102FN04
71 |  | Primary Sampler at 1102BC02 discharge
72 |  | Primary Crusher Jaw Crusher
73 |  | Secondary Sampler at discharge of primary crusher
74 |  | Secondary Crusher Jaw Crusher
75 |  | Tertiary Sampler at discharge of secondary crusher
76 |  | UPS JB to IMCC
77 |  | Inst Supply
78 |  | UPS
Raw Mill Hopper Feed MCC
79 | 1201FN01 | Bag filter fan at RM TT-01
80 | 1201RA01 | RAL for 1201FN01
81 | 1201FN02 | Bag filter fan at RM TT-02
82 | 1201RA02 | RAL for 1201FN02
83 | 1201BC01 | Reclaimer stockpile belt
84 | 1201BC02 | Reclaimer stockpile belt RM TT-1 to RM TT-2
85 | 1201BC03 | RM TT-2 to RM feed hopper belt conveyor
86 | 1201DG01 | Diverting gate at Limestone feed hopper top
87 | 1201BC04 | Reversible conveyor above LS hopper
88 | 1207DG01 | Diverting Gate at laterite hopper top
89 | 1207FN02 | Bag filter fan for Laterite Hopper
90 | 1207RA02 | RAL for 1207FN02
91 | 1201FN03 | Bag filter fan for LS hopper Top
92 | 1201RA03 | RAL for 1201FN03
93 | 1207BC02 | Belt Conveyor to Raw mill hopper from LTH TT-02
94 |  | P&V Pump
95 |  | P&V Pump
96 |  | P&V Blower
97 |  | UPS JB to IMCC
98 |  | Inst Supply
99 |  | UPS
Raw Mill Hopper Extraction MCC
101 | 1202WF01 | Weigh Feeder for LS hopper -1-Low Grade
102 | 1202WF02 | Weigh Feeder for LS hopper -2
103 | 1202WF03 | Weigh Feeder for LS hopper -3
104 | 1202WF04 | Weigh Feeder for Laterite hopper-1
105 | 1202WF05 | Weigh Feeder for Laterite hopper-2
106 | 1202MS01 | Magnetic Separator
107 | 1202MS01-BC01 | Magnetic Separator Belt
108 | 1202FN01 | Bag filter fan at Raw mill hopper Extraction
109 | 1202RA01 | RAL for 1202FN01
110 |  | UPS JB to IMCC
111 |  | Inst Supply
112 |  | UPS
Raw Mill Feeding , Grinding & Auxiliary MCC
113 | 1202BC01 | RM feed hopper to TT
114 | 1202FN02 | Bag filter fan at RMH TT-1
115 | 1202RA02 | RAL for 1202FN02
116 | 1202BC02 | TT to mill feed conveyor
117 | 1202BC03 | Raw mill fresh feed belt
118 | 1202FN03 | Bag filter fan for 1202HP06
119 | 1202RA03 | RAL for 1202FN03
120 | 1202RF01 | Rotary feeder
121 | 1202CG01 | Claim Shell Gate
122 | 1202BC04 | Belt conveyor below reject bin
123 | 1202FN04 | Bag filter fan for 1202BC06
124 | 1202RA04 | RAL for 1202FN04
125 | 1202BC05 | Reject / recirculation belt
126 | 1202BC06 | Raw mill elevator feed belt
127 | 1202MD01 | Raw mill reject recirculation chain bucket elevator
128 | 1202AD01 | Aux. drive for 1202MD01
129 | 1202EH01 | Electrical hoist for 1202MD01
130 | 1203AD01 | Raw mill aux. drive
131 | 0 | LRS Supply for 1203MD01
132 | 0 | Water pump for 1203MD01
133 | 1203LQ04-M1 | Conditioning Pump
134 | 1203LQ04-M2 | Feed Pump - Roller 1
135 | 1203LQ04-M3 | Feed Pump - Roller 2
136 | 1203LQ04-M5 | Return Pump - Roller 1
137 | 1203LQ04-M6 | Return Pump - Roller 2
138 | 0 | Heat Tracing Cable - Roller 1-6
139 | Heater | Heating Element - Cold Side
140 | Heater | Heating Element- Hot Side
141 | 1203HY01-M1 | Hydraulic system for mill - Cond. Pump
142 | 1203HY01-M2 | Hydraulic system for mill - Pressure Pump-1
143 | 1203HY01-M3 | Hydraulic system for mill - Pressure Pump-2
144 | 1203HY02 | Swing Out Hyd Power Unit
145 | 1202FV01 | Mill reject flap valve
146 | 1203LQ05 | Classifier gear box lubrication pump
147 | 1203LQ05 | Classifier gear box lubrication pump
148 | Heater | Heating Element
149 | 0 | Air Cooler
150 | 1203LQ01-M-1 | Low Pressure Pump-1
151 | 1203LQ01-M-2 | Low Pressure Pump-2
152 | 1203LQ01-M-3 | High Pressure Pump-1
153 | 1203LQ01-M-4 | High Pressure Pump-2
154 | 1203LQ01-M-5 | High Pressure Pump-3
155 | 1203LQ01-M-6 | High Pressure Pump-4
156 | Heater | Heating Element
157 | 1203LQ02-M1 | Conditioning Pump
158 | 1203LQ02-M2 | Feed Pump - Roller 3
159 | 1203LQ02-M3 | Feed Pump - Roller 4
160 | 1203LQ02-M5 | Return Pump - Roller 3
161 | 1203LQ02-M6 | Return Pump - Roller 4
162 | Heater | Heating Element - Cold Side
163 | Heater | Heating Element- Hot Side
164 | 1203LQ03_M1 | Conditioning Pump
165 | 1203LQ03_M2 | Feed Pump - Roller 5
166 | 1203LQ03_M3 | Feed Pump - Roller 6
167 | 1203LQ03_M5 | Return Pump - Roller 5
168 | 1203LQ03_M6 | Return Pump - Roller 6
169 | Heater | Heating Element - Cold Side
170 | Heater | Heating Element- Hot Side
171 | 1203GS01_M1 to M6 | Grease Lub. Unit Roller-1
172 | 1203GS02 | Grease Lub. Unit - Separater
173 | 1203WP01 | Water spray pump
174 | 1203WP01A | Water spray pump
175 |  | RM Fan GRR
176 |  | MVD Supply RM Separator
177 | 1203SD02 | Shut off damper in Raw mill fan to bypass duct
178 | 1203LD01 | Lower damper from PH Fan to raw mill duct
179 | 1203LD02 | Lower damper raw mill recirculation duct
180 | 1203LD03 | Lower damper PH Fan to Raw mill duct in fresh air duct
181 | 1203SD02 | Shut off damper from PH Fan to Rawmill duct
182 | 1203LD04 | Lower damper in bypass duct
183 | 1203LD05 | Lower damper for bypass duct dillution ( fresh air duct)
184 | 1203LD06 | Lower damper for bypass duct dillution ( fresh air duct)
185 |  | Return Water Pump
186 |  | Outgoing to Extraction MCC
187 |  | UPS JB to IMCC
188 |  | Inst Supply
189 |  | UPS
Raw Mill Silo Feeding MCC
190 | 1204RF01 | Rotary air lock for RM cyclones
191 | 1204RF02 | Rotary air lock for RM cyclones
192 | 1204RF03 | Rotary air lock for RM cyclones
193 | 1204RF04 | Rotary air lock for RM cyclones
194 | 1203SD02 | Shut off damper in Raw mill fan to bypass duct
195 | 1204BL01 | Air slide blower for 1204AS01
196 | 1204BL01A | Air slide blower for 1204AS01
197 | 1204BL02 | Air slide blower for 1204AS02
198 | 1204FN01 | Bag filter fan for 1204AS03
199 | 1204RA01 | RAL for 1204FN01
200 | 1204BL03 | Air slide blower for 1204AS03
201 | 1204BL04 | Air slide blower for 1204AS03
202 | 1204BL05 | Air slide blower for 1204AS03
203 | 1204BL06 | Air slide blower for 1204AS03
204 | 1204BL06A | Air slide blower for 1204AS03
205 | 1204BL07 | Air slide blower for 1204AS03
206 | 1204BL08 | Air slide blower for 1204AS03
207 | 1204BL09 | Air slide blower for 1204AS03
208 | 1204BL10 | Air slide blower for 1204AS03
209 | 1204BL10A | Air slide blower for 1204AS03
210 | 1204FN02 | Bag filter fan for 1204AS04
211 | 1204RA02 | RAL for 1204FN02
212 | 1204BL11 | Air slide blower for 1204AS04
213 | 1204BL12 | Air slide blower for 1204AS04
214 | 1204BL13 | Air slide blower for 1204AS04
215 | 1204BL14 | Air slide blower for 1204AS04
216 | 1204BL14A | Air slide blower for 1204AS04
217 | 1204BL15 | Air slide blower for 1204AS04
218 | 1204BL16 | Air slide blower for 1204AS04
219 | 1204BL17 | Air slide blower for 1204AS04
220 | 1204BL18 | Air slide blower for 1204AS04
221 | 1204BL18A | Air slide blower for 1204AS04
222 | 1204SM01 | Sampler
223 | 1204AD01 & 1A | Aux. Drive Bucket Elevator-1
224 | 1204SM01 | Sampler
225 | 1204BL19 | Air Slide Blower for 1204AS05
226 | 1204BL20 | Air Slide Blower for 1204AS05
227 | 1204BL21 | Air Slide Blower for 1204AS05
228 | 1204BL21A | Air Slide Blower for 1204AS05 (Stand By)
229 | 1204FN04 | Bag filter fan for RM silo top
230 | 1204RA04 | RAL for 1204FN04
231 | 1204BL22 | Air Slide Blower for 1204AS06-15
232 | 1204BL23 | Air Slide Blower for 1204AS06-15
233 | 1204BL24 | Air Slide Blower for 1204AS06-15
234 | 1204BL24A | Air Slide Blower for 1204AS06-15(stand By)
235 | 1204BL25 | Air Slide Blower for 1204AS06-15
236 | 1204BL26 | Air Slide Blower for 1204AS06-15
237 | 1204BL27 | Air Slide Blower for 1204AS06-15
238 | 1204BL27A | Air Slide Blower for 1204AS06-15(stand By)
239 | 1204FN03 | Bag filter fan for 1204AS04
240 | 1204RA03 | RAL for 1204FN03
241 |  | UPS JB to IMCC
242 |  | Inst Supply
243 |  | Battery Charger
244 |  | UPS
RABH MCC
245 | 1205RF01 | Rotary air lock for RABH
246 | 1205RF02 | Rotary air lock for RABH
247 | 1205RF03 | Rotary air lock for RABH
248 | 1205RF04 | Rotary air lock for RABH
249 | 1205RF05 | Rotary air lock for RABH
250 | 1205RF06 | Rotary air lock for RABH
251 | 1205RF07 | Rotary air lock for RABH
252 | 1205RF08 | Rotary air lock for RABH
253 | 1205RF09 | Rotary air lock for RABH
254 | 1205RF10 | Rotary air lock for RABH
255 | 1205RF11 | Rotary air lock for RABH
256 | 1205RF12 | Rotary air lock for RABH
257 | 1205RF13 | Rotary air lock for RABH
258 | 1205RF14 | Rotary air lock for RABH
259 | 1205RF15 | Rotary air lock for RABH
260 | 1205RF16 | Rotary air lock for RABH
261 | 1205RF17 | Rotary air lock for RABH
262 | 1205RF18 | Rotary air lock for RABH
263 | 1205RF19 | Rotary air lock for RABH
264 | 1205RF20 | Rotary air lock for RABH
265 | 1205RF21 | Rotary air lock for RABH
266 | 1205RF22 | Rotary air lock for RABH
267 | 1205HE1 | Heater for RABH
268 | 1205HE2 | Heater for RABH
269 | 1205HE3 | Heater for RABH
270 | 1205HE4 | Heater for RABH
271 | 1205HE5 | Heater for RABH
272 | 1205HE6 | Heater for RABH
273 | 1205HE7 | Heater for RABH
274 | 1205HE8 | Heater for RABH
275 | 1205HE9 | Heater for RABH
276 | 1205HE10 | Heater for RABH
277 | 1205HE11 | Heater for RABH
278 | 1205HE12 | Heater for RABH
279 | 1205HE13 | Heater for RABH
280 | 1205HE14 | Heater for RABH
281 | 1205HE15 | Heater for RABH
282 | 1205HE16 | Heater for RABH
283 | 1205HE17 | Heater for RABH
284 | 1205HE18 | Heater for RABH
285 | 1205HE19 | Heater for RABH
286 | 1205HE20 | Heater for RABH
287 | 1205HE21 | Heater for RABH
288 | 1205HE22 | Heater for RABH
289 | 1205RF23 | Rotary Air Lock below spillage hopper at RABH inlet duct
290 | 1205FN02 | Reverse air Fan
291 | 1205LD01 | Lower damper for RABH stack duct
292 | 1205LD01A | Lower damper for RABH stack duct
293 | 1205LD02 | Lower damper for recirculation duct
294 | 1205CC01 | Chain conveyor below RABH
295 | 1205CC02 | Chain conveyor below RABH
296 | 1205CC03 | Chain conveyor below RABH
297 | 1205CC04 | Chain conveyor below RABH
298 | 1205MD01 | Hot dust bin feed belt bucket elevator
299 | 1205AD01 | Aux. drive for 1205MD01
300 | 1205EH01 | Electrical hoist
301 | 1205CC05 | Chain conveyor at 1205MD01 elevator
302 | 1205RF24 | Rotary air lock below kiln dust bin
303 | 1205CC06 | Chain conveyor below kiln dust bin
304 | 1205FN03 | Bag filter fan 1301AS11
305 | 1205RA01 | RAL for 1205FN03
306 | 1205CC07 | Chain conveyor for blending silo feed
307 |  | MVD Supply of RABH Fan
308 |  | UPS JB to IMCC
309 |  | Inst Supply
310 |  | UPS
Silo Extraction & Kiln Feed Bin MCC
311 | 1301MG01 | Motorised gate-1 silo inside
312 | 1301MG02 | Motorised gate-2 silo inside
313 | 1301MG03 | Motorised gate-3 silo inside
314 | 1301MG04 | Motorised gate-4 silo inside
315 | 1301MG05 | Motorised gate-5 silo inside
316 | 1301MG06 | Motorised gate-6 silo inside
317 | 1301MG07 | Motorised gate-7 silo inside
318 | 1301MG08 | Motorised gate-8 silo inside
319 | 1301MG09 | Motorised gate-9 silo inside
320 | 1301MG10 | Motorised gate-10 silo inside
321 | 1301MG11 | Motorised gate-11 silo inside
322 | 1301MG12 | Motorised gate-12 silo inside
323 | 1301FN01 | Bag filter fan for control bin
324 | 1301RA01 | RAL for 1301FN01
325 | 1301CFN01 | Fan-1 for silo cone air circulator
326 | 1301CFN02 | Fan-2 for silo cone air circulator
327 | 1301BL05 | Air slide blower for silo inside air slide
328 | 1301BL06 | Air slide blower for silo inside air slide
329 | 1301BL07 | Air slide blower for silo inside air slide
330 | 1301BL08 | Air slide blower for silo inside air slide
331 | 1301BL09 | Air slide blower for silo inside air slide
332 | 1301BL10 | Air slide blower for silo inside air slide
333 | 1301BL10A | Air slide blower for silo inside air slide
334 | 1301BL09A | Air slide blower for silo inside air slide
335 | 1301BL01 | Root blower for RM silo aeration
336 | 1301BL02 | Root blower for RM silo aeration
337 | 1301BL02A | Root blower for RM silo aeration (Stand By)
338 | 1301BL03 | Root blower for RM silo aeration
339 | 1301BL04 | Root blower for RM silo aeration
340 | 1301BL04A | Root blower for RM silo aeration (Stand By)
341 | 1301MG13 | Motorised gate for air slide 1301AS13
342 | 1301MG14 | Motorised gate for air slide 1301AS15
343 | 1301MG15 | Motorised gate for air slide 1301AS16
344 | 1301MG16 | Motorised gate for air slide 1301AS16
345 | 1301BL12 | Air slide blower for 1204AS04
346 | 1301BL12A | Air slide blower for 1204AS04 (Stand By)
347 | 1301BL11 | Root blower for RM silo bin aeration
348 | 1301BL11A | Root blower for RM silo bin aeration (Stand By)
349 | 1301BL13 | Air slide blower for 1301AS17
350 | 1301BL14 | Air slide blower for 1301AS17
351 | 1301BL15 | Air slide blower for 1301AS17
352 | 1301BL15A | Air slide blower for 1301AS17 (Stand By)
353 | 1301AD01 | Aux. Drive for 1301MD01
354 | 1301BL16 | Air slide blower for 1301AS11
355 | 1301BL17 | Air slide blower for 1301AS11
356 | 1301BL18 | Air slide blower for 1301AS11
357 | 1301BL18A | Air slide blower for 1301AS11 (Stand By)
358 | 1301BL19 | Air slide blower for 1301AS11
359 | 1301BL20 | Air slide blower for 1301AS11
360 | 1301BL20A | Air slide blower for 1301AS11 (Stand By)
361 | 1301FN03 | Bag filter fan for kiln feed bin Top
362 | 1301RA03 | RAL for 1301FN03
363 |  | 1301md1
364 | 1301EH01 | Electrical Hoist
365 |  | UPS JB to IMCC
366 |  | Inst Supply
367 |  | UPS
Kiln Bin Feed upto PH Feed MCC
368 | 1302RS01 | Rotor Scale - 1
369 | 1302RS02 | Rotor Scale - 2
370 | 1302RS03 | Rotor Scale - 3
371 | 1302BL01 | Root blower for kiln feed bin aeration
372 | 1302BL01A | Root blower for kiln feed bin aeration (Stand By)
373 | 1302BL02 | Air slide blower for 1302AS04
374 | 1302BL02A | Air slide blower for 1302AS04
375 | 1302BL03 | Air slide blower for 1302AS05&06
376 | 1302BL03A | Air slide blower for 1302AS05&06 (Stand By)
377 | 1302BL04 | Air slide blower for 1302AS05&06
378 | 1302BL05 | Air slide blower for 1302AS05&06
379 |  | Air slide blower for 1302AS05&06
380 |  | Air slide blower for 1302AS05&06
381 |  | Air slide blower for 1302AS05&06
382 | 1302SM01 | Sampler for preheater Feed elevator
383 | 1302AD01 | Aux. drive for 1302MD01
384 | 1302FN01 | Bag filter fan for 1302AS05
385 | 1302RA01 | RAL for 1302FN01
386 | 1302EH01 | Electrical Hoist
387 | 1302BL09 | Air slide blower for 1302AS06
388 | 1302BL10 | Air slide blower for 1302AS06
389 | 1302DG01 | Diverting gate at 1302AS04
390 | 1302BL11 | Air slide blower for 1302AS06
391 | 1302RF01 | Rotary feeder at 1302AS07
392 | 1302RF02 | Rotary feeder at 1302AS07
393 | 1302RF03 | Rotary feeder at 1302AS07
394 | 1302RF04 | Rotary feeder at 1302AS07
395 | 1302RF05 | Rotary feeder at 1302AS06
396 | 1302RF06 | Rotary feeder at 1302AS06
397 | 1302RF07 | Rotary feeder at 1302AS06
398 | 1302RF08 | Rotary feeder at 1302AS06
399 | 1302FN03 | Bag filter fan for 1302MD01
400 | 1302RA03 | RAL for 1302FN03
401 | 1302MG01 | Motorised Gate
402 | 1302MG02 | Motorised Gate
403 | 1302MG03 | Motorised Gate
404 | 1302BL06 | Air slide blower for 1302AS06
405 | 1302BL06A | Air slide blower for 1302AS06 (Stand By)
406 | 1302BL07 | Air slide blower for 1302AS06
407 | 1302BL08 | Air slide blower for 1302AS06
408 |  | Air slide blower for 1302AS06
409 |  | Air slide blower for 1302AS07A
410 |  | Air slide blower for 1302AS07A
411 |  | Air slide blower for 1302AS07A
412 |  | Air slide blower for 1302AS07A
413 |  | Air slide blower for 1302AS07A
414 | 1302FN02 | Bag filter fan for 1302AS06
415 | 1302RA02 | RAL for 1302FN02
416 | 1302AD02 | Aux. drive for 1302MD02
417 | 1302EH02 | Electrical Hoist
418 | 1302BL12 | Air slide blower for 1302AS08
419 | 1302BL13 | Air slide blower for 1302AS08
420 | 1302BL14 | Air slide blower for 1302AS08
421 | 1302DG02 | Diverting gate at 1302AS08
422 | 1302RF09 | Rotary feeder at 1302AS09
423 | 1302RF10 | Rotary feeder at 1302AS09
424 | 1302RF11 | Rotary feeder at 1302AS09
425 | 1302RF12 | Rotary feeder at 1302AS09
426 | 1302RF13 | Rotary feeder at 1302AS08
427 | 1302RF14 | Rotary feeder at 1302AS08
428 | 1302RF15 | Rotary feeder at 1302AS08
429 | 1302RF16 | Rotary feeder at 1302AS08
430 | 1302FN04 | Bag filter fan for 1302MD02
431 | 1302RA04 | RAL for 1302FN04
432 | 1302BL15 | Air slide blower for 1302AS08
433 | 1302BL16 | Air slide blower for 1302AS08
434 | 1302BL17 | Air slide blower for 1302AS08
435 | 1302FN04 | Bag filter fan for PH String 2
436 | 1302RA04 | RAL for PH String 2 fan
437 |  | Coal Screw Sampler for Kiln Feed
438 |  | Coal Screw Sampler for PC Feed
439 |  | Boiler Inlet Guillotine Damper (Pass-I)
440 |  | Boiler Inlet Guillotine Damper (Pass-II)
441 |  | Boiler Outlet Guillotine Damper (Pass-I)
442 |  | Boiler Outlet Guillotine Damper (Pass-II)
443 |  | Boiler bypass damper (Pass-I)
444 |  | Boiler bypass damper (Pass-II)
445 |  | Air slide blower for local furnace
446 |  | Air slide blower for local furnace
447 |  | Air slide blower for local furnace
448 | 1405MK01 | Multicor with rotary feeder and agitator
449 | 1405MK02 | Multicor with rotary feeder and agitator
450 | 1405MK03 | Multicor with rotary feeder and agitator
451 | 1405MK04 | Multicor with rotary feeder and agitator
452 |  | UPS JB to IMCC
453 |  | Inst Supply
454 |  | UPS
Kiln Auxiliary MCC
456 | 1303LD01 | Damper for 1303FN01
457 | 1303LD02 | Damper for 1303FN02
458 | 1303DG01 | Diverting gate at string 01
459 | 1303DG02 | Diverting gate at string 02
460 | 1303DG03 | Diverting gate at string 03
461 | 1303DG04 | Diverting gate at string 04
462 | 1303FN03 | Hoisting damper Cooling Fan
463 | 1303FN04 | Hoisting damper Cooling Fan
464 | 1303SD01 | Shut off Damper for TAD
465 | 1303SD02 | Shut off Damper for TAD
466 | 0 | Bag filter fan for PH String 1
467 | 0 | RAL for PH String 1 fan
468 | 1303FN05 | Kiln inlet graphite seal cooling fan
469 | 1303FN05A | Kiln inlet graphite seal cooling fan
470 | 1303AD01 | Kiln Aux. Drive-1
471 | 1303AD01 | Kiln Aux. Drive-1
472 | 1303AD02 | Kiln Aux. Drive-2
473 | 1303AD02 | Kiln Aux. Drive-2
474 | 1303LQ03_PP1 | Oil start pump
475 | 1303LQ03_PP2 | Oil start pump
476 | 1303LQ03_PP3 | Oil start pump
477 | 1303LQ03_PP4 | Oil start pump
478 | 1303HY01 | Thrust unit
479 | 1303LQ04 | Girth Gear Spray System
480 | 1303LQ04A | Girth Gear Spray System
481 | 1303LQ05_PP1 | Lubrication pump for gearbox
482 | 1303LQ05_PP2 | Lubrication pump for gearbox
483 | 1303LQ05A_PP1 | Lubrication pump for gearbox
484 | 1303LQ05A_PP2 | Lubrication pump for gearbox
485 | 1303CFN01 | Shell Colling fan
486 | 1303CFN02 | Shell Colling fan
487 | 1303CFN03 | Tyre cooling fan
488 | 1303CFN04 | Tyre cooling fan
489 | 1303CFN05 | Shell Colling fan
490 | 1303CFN06 | Shell Colling fan
491 | 1303CFN07 | Shell Colling fan
492 | 1303CFN08 | Tyre cooling fan
493 | 1303CFN09 | Tyre cooling fan
494 | 1303LQ01_PP1 | Oil start pump
495 | 1303LQ01_PP2 | Oil start pump
496 | 1303LQ01_PP3 | Oil start pump
497 | 1303LQ01_PP4 | Oil start pump
498 | 1303LQ02_PP1 | Oil start pump
499 | 1303LQ02_PP2 | Oil start pump
500 | 1303LQ02_PP3 | Oil start pump
501 | 1303LQ02_PP4 | Oil start pump
502 | 1303FN06 | Kiln Outlet seal air fan
503 | 1303FN06A | Kiln Outlet seal air fan
504 | 1303FN07 | Kiln outlet graphite seal cooling fan
505 | 1303FN07A | Kiln outlet graphite seal cooling fan
506 | 1303BU01 | Burner Trolley
507 | 1303FN08 | Cooling fan for Emergency cooling of Kiln Burner
508 | 1303PP01 | Kiln PF Unit Oil Pump-1
509 | 1303PP02 | Kiln PF Unit Oil Pump-2
510 | 1303PP03 | Kiln Oil Tank filling Pump-1
511 | 1303PP04 | Kiln Oil Tank filling Pump-2
512 | 1303WP01 | Centrifugal pump, booster system
513 | 1303HT02 | Heater 2 for Kiln main drive
514 |  | MVD Supply of Kiln Drive
515 |  | UPS JB to IMCC
516 |  | Inst Supply
517 |  | UPS
Cooler Auxiliry & Transport MCC
518 | 1304EH01 | Electrical hoist for cooler fans
519 | 1304EH02 | Electrical hoist for cooler fans
520 | 1304EH03 | Electrical hoist for cooler brakers
521 | 1304EH04 | Electrical hoist for cooler brakers
522 | 1304SM01 | Sampler
523 | 1304LD01 | Louvre Damper for cooler ESP inlet
524 | 1304LD02 | Louvre Damper for fresh air
525 | 1304LD03 | Louvre Damper from ESP fan to stack duct
526 | 1304LD04 | Louvre Damper for cooler recirculation duct
527 | 1304LD05 | Louvre Damper for fresh air duct in cooler recirculation
528 | 1304WP01 | Water spray System in cooler - Pump 1
529 | 1304WP02 | Water spray System in cooler - Pump 2
530 | 1304PP01 | Hydraulic main Pump
531 | 1304PP02 | Hydraulic main Pump
532 | 1304PP03 | Hydraulic main Pump
533 | 1304PP04 | Hydraulic main Pump
534 | 1304PP05-6 | Hydraulic Drive - Offline
535 | 1304PP07 | Hydraulic Drive - Heating/Filling
536 | 1304CR01-5 | CB cooler Crusher (1-5)
537 | 1305MD01 | Deep pan conveyor-1
538 | 1305MD02 | Deep pan conveyor-2
539 | 1305MG1 | Motorised gate for clinker tank-1
540 | 1305MG2 | Motorised gate for clinker tank-1
541 | 1305MG3 | Motorised gate for clinker tank-1
542 | 1305EH01 | Electrical hoist for DPC-1
543 | 1305EH02 | Electrical hoist for DPC-2
544 | 1305FN01 | Bag filter fan at Clinker tank -1 Top
545 | 1305RA01 | RAL for 1305FN01
546 | 1305FN02 | Bag filter fan at Clinker tank -2 Top
547 | 1305RA02 | RAL for 1305FN02
548 |  | Boiler Outlet Guillotine Damper
549 |  | Boiler bypass multilouver Damper
550 |  | Boiler inlet multilouver damper-1
551 |  | Boiler inlet multilouver damper-2
552 |  | Boiler inlet multilouver damper-3
553 |  | UPS JB to IMCC
554 |  | Inst Supply
555 |  | UPS
Cooler ESP MCC
556 | 1305RF01 | Rotary Air Lock
557 | 1305RF02 | Rotary Air Lock
558 | 1305RF03 | Rotary Air Lock
559 | 1305RF04 | Rotary Air Lock
560 | 1305RF05 | Rotary Air Lock
561 | 1305RF06 | Rotary Air Lock
562 | 1305RF07 | Rotary Air Lock
563 | 1305RF08 | Rotary Air Lock
564 | 1305RF09 | Rotary Air Lock
565 | 1305RF10 | Rotary Air Lock
566 | 1305RF11 | Rotary Air Lock
567 | 1305RF12 | Rotary Air Lock
568 | 1305RF13 | Rotary Air Lock
569 | 1305RF14 | Rotary Air Lock
570 | 1305RF15 | Rotary Air Lock
571 | 1305RF16 | Rotary Air Lock
572 | 1305RF17 | Rotary Air Lock
573 | 1305RF18 | Rotary Air Lock
574 | 1305RF19 | Rotary Air Lock
575 | 1305RF20 | Rotary Air Lock
576 | 1305RF21 | Rotary Air Lock
577 | 1305RF22 | Rotary Air Lock
578 | 1305RF23 | Rotary Air Lock
579 | 1305RF24 | Rotary Air Lock
580 | 1305HE1 | Support Insulator Heater group -1 at ESP top
581 | 1305HE1 | Support Insulator Heater group -1 at ESP top
582 |  | ESP Collecting electrode rapping motor-1
583 |  | ESP Collecting electrode rapping motor-2
584 |  | ESP Collecting electrode rapping motor-3
585 |  | ESP Collecting electrode rapping motor-4
586 |  | ESP Collecting electrode rapping motor-5
587 |  | ESP Collecting electrode rapping motor-6
588 |  | ESP Emitting electrode rapping motor-1
589 |  | ESP Emitting electrode rapping motor-2
590 |  | ESP Emitting electrode rapping motor-3
591 |  | ESP Emitting electrode rapping motor-4
592 |  | ESP Emitting electrode rapping motor-5
593 |  | ESP Emitting electrode rapping motor-6
594 | 0 | Cooler ESP MCC to TR-1 Panel
595 | 0 | Cooler ESP MCC to TR-2 Panel
596 | 0 | Cooler ESP MCC to TR-3 Panel
597 | 0 | Cooler ESP MCC to TR-4 Panel
598 | 0 | Cooler ESP MCC to TR-5 Panel
599 | 0 | Cooler ESP MCC to TR-6 Panel
600 | 0 | Pressurising Fan motor
601 | 0 | Pressurising Fan motor
602 | 1305WS02 | Water Spray System
603 | 1305WS02 | Water Spray System
604 |  | UPS JB to IMCC
605 |  | Inst Supply
606 |  | UPS
Coal & Laterite Handling and Storage MCC
607 | 1401BRU01 | Bulk receiving unit-1 for coal
608 | 1401TL01 | Hydraulic truck unloader-1 for Coal
609 | 1401FN01 | Bag filter fan for BRU-1
610 | 1401RA01 | RAL for 1401FN01
611 | 1401MS01 | Magnetic Separator
612 | 1401MS01-BC01 | Magnetic Separator belt for
613 | 1401BC01 | Belt conveyor for coal BRU
614 | 1401FN02 | Bag filter fan at TT-1
615 | 1401RA02 | RAL for 1402FN02
616 | 1401DG01 | Diverting gate
617 | 1401CR01 | Coal Crusher
618 | 1401BC02 | Belt conveyor at TT-1 to TT-2
619 | 1401FN03 | Bag filter fan at TT-2
620 | 1401RA04 | RAL for 1401FN03
621 | 1401BC03 | Belt Conveyor to Coal Stockyard TT-4
622 | 1401BC04 | Coal Stockyard Belt Conveyor
623 | 1401BC04A | Tipper Conveyor (2*7.5)
624 | 1401BC05 | Reversible Tipper Conveyor
625 | 1402BC01 | Coal Reclaimer belt
626 | 1402FN01 | Bag filter fan at TT-3
627 | 1402RA01 | RAL for 1402FN01
628 | 1206BRU01 | Bulk receiving unit for Laterite
629 | 1206TL01 | Hydraulic truck unloader for Laterite
630 | 1206FN01 | Bag filter fan for BRU-Laterite
631 | 1206RA01 | RAL for 1206FN01
632 | 1206BC01 | Belt conveyor for Laterite
633 | 1206MS01 | Magnetic separator for 1506BC01
634 | 1206MS01-BC01 | Magnetic separator belt for 11206MS01
635 | 1206FN02 | Bag filter fan for 1206BC02
636 | 1206RA02 | RAL for 1206FN02
637 | 1206DG01 | Diverting gate
638 | 1206BC02 | Laterite stockyard Belt
639 | 0 | Laterite Tripper Belt (2*7.5)
640 | 1206BC03 | Reversible Tipper Conveyor
641 | 1206BC02A | Belt conveyor for feed 1207BC02
642 | 1207BC01 | Laterite stockyard reclaiming belt
643 | 1207FN01 | Bag filter fan for 1207BC02
644 | 1207RA01 | RAL for 1207FN01
645 |  | UPS JB to IMCC
646 |  | Inst Supply
647 |  | UPS
Coal Handling upto Coal mill hopper
648 | 1402BC01 | Coal stockpile to KMTT-03
649 | 1402BC02 | KMTT-03 to KMTT-04
650 | 1402FN01 | Bag filter fan for 1402BC01 at KM TT-4
651 | 1402RA01 | RAL for 1402FN01
652 | 1402BC03 | Belt conveyor TT-4 to TT-5 for coal mill circuit
653 | 1402FN02 | Bag filter fan for 1402BC02 at KM-TT-5
654 | 1402RA02 | RAL for 1402FN02
655 | 1402DG01 | Diverting gate
656 | 1402BC04 | Raw coal hopper feeding Reversible Belt conveyor
657 | 1402FN03 | Bag filter fan at Raw coal hopper top
658 | 1402RA03 | RAL for 1402FN03
659 |  | UPS JB to IMCC
660 |  | Inst Supply
661 |  | UPS
Coal Mill Aux. MCC
662 | 1403WF01 | Weigh feeder
663 | 1403WF02 | Weigh feeder
664 | 1403BC01 | Belt conveyor below weigh feeder (Raw Coal Hopper)
665 | 1403FN01 | Bag filter fan for 1403BC01
666 | 1403RA01 | RAL for 1403FN01
667 | 461RF085/1403RF01 | Rotary feeder
668 | 461RF085/1403RF01 | Auxilary fan power
669 | 461RF085/1403RF01 | Brake power @20 deg C
670 | 1403AD01 | Aux. drive for coal mill
671 | 461LQ145/1403LQ01_M1 | High pressure Lub. pump
672 | 461LQ145/1403LQ01_M2 | High pressure Lub. pump
673 | 461LQ145/1403LQ01_M3 | Low pressure Lub. pump
674 | 461LQ145/1403LQ01_M4 | Low pressure Lub. pump
675 | 461LQ145/1403LQ01_M5 | Low pressure Lub. pump
676 | Heater | Heater
677 | Heater | Heater
678 | 461LQ120/1403LQ02_M1 | Supply pump
679 | 461LQ120/1403LQ02_M2 | Supply pump
680 | 461LQ120/1403LQ02_M3 | Supply pump
681 | 461LQ120/1403LQ02_M4 | Suction pump
682 | 461LQ120/1403LQ02_M5 | Suction pump
683 | 461LQ120/1403LQ02_M6 | Suction pump
684 | 461LQ120/1403LQ02_M7 | Conditioning pump
685 | 0 | Heater
686 | 0 | Heater
687 | 0 | Heat tracing for supply, return and breather lines
688 | 1403SR01 | Classifier
689 |  | Classifier
690 | 1403LQ03 | Classifier gear box lubrication pump
691 | 1403FN02 | Seal air Fan for coal mill
692 | 561HY110/1403HY01_M1 | Oil pump
693 | 561HY110/1403HY01_M2 | Conditioning pump
694 | Heater | Heater
695 | 1403GS01 | Grease Pump
696 | 1403WP01 | Water pump
697 | 1403WP01A | Water pump
698 | 1403EH01 | Electrical Hoist
699 | 1403MD01 | Coal Mill reject Recirculation chain bucket Elevator
700 | 1403AD01 | Aux. drive for 1403MD01
701 | 1403EH02 | Electrical Hoist
702 | 1403BC02 | At reject recirculation elevator discharge
703 | 1404RF01 | Rotary air lock for Bag house
704 | 1404RF02 | Rotary air lock for Bag house
705 | 1404RF03 | Rotary air lock for Bag house
706 | 1404RF04 | Rotary air lock for Bag house
707 | 1404RF05 | Rotary air lock for Bag house
708 | 1404RF06 | Rotary air lock for Bag house
709 | 1404RF07 | Rotary air lock for Bag house
710 | 1404RF08 | Rotary air lock for Bag house
711 | 1404SM01 | Sampler
712 | 1404SC01 | Screw conveyor
713 | 1403LD01 | Damper coal mill fan to stack
714 | 1403LD02 | Damper In coal mill Recirculation
715 | 1403LD03 | Damper from coal mill recirculation duct for fresh air
716 | 1403LD04 | Damper for preheater ID fan
717 | 1403FN04 | Hot Gas Fan fan
718 | 1403SD01 | Shut off damper PH Fan to coal mill duct
719 | 1403SD02 | Shut off damper PH Fan to coal mill duct
720 | 1403EF02 | Quick acting damper from preheater fan to coal mill duct
721 | 1403EV01 | Quick acting damper from coal mill to bag house duct
722 | 1403EF03 | Quick acting damper from bag house to coal mill duct
723 | 1404FN01 | Bag filter fan for fine coal bin
724 | 1404RA01 | RAL for 1404FN01
725 |  | UPS JB to IMCC
726 |  | Inst Supply
727 |  | UPS
Clinker Loading Hopper MCC
728 | 1550SP01 | Clinker loading spout for 1550HP01
729 | 1550SP01A | Clinker loading spout for 1550HP01
730 | 1550SP01B | Clinker loading spout for 1550HP01
731 | 1550SP02 | Clinker loading spout for 1550HP02
732 | 1550SP02A | Clinker loading spout for 1550HP02
733 | 1550SP02B | Clinker loading spout for 1550HP02
734 | 1550SP03 | Clinker loading spout for 1550HP03
735 | 1550SP03A | Clinker loading spout for 1550HP03
736 | 1550SP03B | Clinker loading spout for 1550HP03
737 | 1550SP04 | Clinker loading spout for 1550HP04
738 | 1550SP04A | Clinker loading spout for 1550HP04
739 | 1550SP04B | Clinker loading spout for 1550HP04
740 | 1550SP05 | Clinker loading spout for 1550HP05
741 | 1550SP05A | Clinker loading spout for 1550HP05
742 | 1550SP05B | Clinker loading spout for 1550HP05
743 | 1550SP06 | Clinker loading spout for 1550HP06
744 | 1550SP06A | Clinker loading spout for 1550HP06
745 | 1550SP06B | Clinker loading spout for 1550HP06
746 | 1550MG1 | Motorized gate / Actuator for 1550SP01
747 | 1550MG1A | Motorized gate / Actuator for 1550SP01A
748 | 1550MG1B | Motorized gate / Actuator for 1550SP01B
749 | 1550MG2 | Motorized gate / Actuator for 1550SP02
750 | 1550MG2A | Motorized gate / Actuator for 1550SP02A
751 | 1550MG2B | Motorized gate / Actuator for 1550SP02B
752 | 1550MG3 | Motorized gate / Actuator for 1550SP03
753 | 1550MG3A | Motorized gate / Actuator for 1550SP03A
754 | 1550MG3B | Motorized gate / Actuator for 1550SP03B
755 | 1550MG4 | Motorized gate / Actuator for 1550SP04
756 | 1550MG4A | Motorized gate / Actuator for 1550SP04A
757 | 1550MG4B | Motorized gate / Actuator for 1550SP04B
758 | 1550MG5 | Motorized gate / Actuator for 1550SP05
759 | 1550MG5A | Motorized gate / Actuator for 1550SP05A
760 | 1550MG5B | Motorized gate / Actuator for 1550SP05B
761 | 1550MG6 | Motorized gate / Actuator for 1550SP06
762 | 1550MG6A | Motorized gate / Actuator for 1550SP06A
763 | 1550MG6B | Motorized gate / Actuator for 1550SP06B
764 | 1550FN01 | Bag filter fan for Clinker loading hopper spout 1550HP1
765 | 1550RA01 | RAL for 1550FN01
766 | 1550FN02 | Bag filter fan for Clinker loading hopper spout 1550HP2
767 | 1550RA02 | RAL for 1550FN02
768 | 1550FN03 | Bag filter fan for Clinker loading hopper spout 1550HP3
769 | 1550RA03 | RAL for 1550FN03
770 | 1550FN04 | Bag filter fan for Clinker loading hopper spout 1550HP4
771 | 1550RA04 | RAL for 1550FN04
772 | 1550FN05 | Bag filter fan for Clinker loading hopper spout 1550HP5
773 | 1550RA05 | RAL for 1550FN05
774 | 1550FN06 | Bag filter fan for Clinker loading hopper spout 1550HP6
775 | 1550RA06 | RAL for 1550FN06
776 | 1501BC11 | Clinker Belt conveyor from TT to truck loading station
777 | 1501BC12 | Conveyor at truck loading station
778 | 1501FN15 | Bag filter fan at CLH-TT-4
779 | 1501RA15 | RAL for 1501FN15
780 | 1501FN16 | Bag filter fan for clinker loading hopper 1550HP05
781 | 1501RA16 | RAL for 1501FN16
782 | 1501FN17 | Bag filter fan for clinker loading hopper 1550HP06
783 | 1501RA17 | RAL for 1501FN17
784 |  | UPS JB to IMCC
785 |  | Inst Supply
786 |  | UPS
Clinker Transport upto Loading Hopper MCC
787 | 1501BC10 | Clinker tank cross belt to clinker loading station
788 | 1501MS2 | Magnetic Saperator
789 | 1501MS2-BC1 | Magnetic Saperator Belt
790 | 1501FN15 | Bag Filter fan
791 | 1501RA15 | RAL for 1501FN15
792 | 1501BC11 | Clinker Belt conveyor from TT to truck loading station
793 | 1501FN16 | Bag Filter fan
794 | 1501RA16 | RAL for 1501FN16
795 | 1501BC12 | Conveyor at truck loading station
796 | 1501FN17 | Bag Filter fan
797 | 1501RA17 | RAL for 1501FN17
798 |  | UPS JB to IMCC
799 |  | Inst Supply
800 |  | UPS
AC and P&V MCC for RABH LC
801 | P&V Water Pump (W) | DOL
802 | P&V Water Pump (S) | DOL
803 | P&V Blower (W) | DOL
804 | P&V Blower (S) | DOL
805 | AC Feeder for IO & VFD Room | MCCB
806 | AC Feeder for MVD Room | MCCB
807 | AC Feeder for Offices | MCCB
808 | AC Feeder for MVD Room | MCCB
809 | Preheater Lift - 1 | MCCB
810 | Preheater Lift - 2 | MCCB
811 | Preheater Lift - 3 | MCCB
812 | Preheater Lift - 4 | MCCB
813 | Electrical Hoist | MCCB
814 | Electrical Hoist | MCCB
815 | Electrical Hoist | MCCB
816 | Electrical Hoist | MCCB
817 | UPS JB to IMCC | SFU
818 | Inst Supply | SFU
819 | UPS | SFU
AC and P&V MCC for Kiln-Cooler LC
820 | P&V Water Pump (W) | DOL
821 | P&V Water Pump (S) | DOL
822 | P&V Blower (W) | DOL
823 | P&V Blower (S) | DOL
824 | AC Feeder for IO & VFD Room | MCCB
825 | AC Feeder for MVD Room | MCCB
826 | AC Feeder for Offices | MCCB
827 | AC Feeder for MVD Room | MCCB
828 | Electrical Hoist | MCCB
829 | Electrical Hoist | MCCB
830 | Electrical Hoist | MCCB
831 | Electrical Hoist | MCCB
832 | UPS JB to IMCC | SFU
833 | Inst Supply | SFU
834 | UPS | SFU
Gypsum, Pond Ash Handling & Storage MCC
835 | 1509BRU01 | Bulk receiving unit for gypsum
836 | 1509TL01 | Hydraulic truck unloader for gypsum
837 | 1509FN01 | Bag filter fan for gypsum BRU
838 | 1509RA01 | RAL for 1509FN01
839 | 1509BC01 | Belt conveyor for gypsum at GH-TT-01
840 | 1509MS01 | Magnetic Seperator
841 | 1509MS01-BC01 | Magnetic saperator belt for 1509MS01
842 | 1509FN02 | Bag filter fan for 1509BC02
843 | 1509RA02 | RAL for 1509FN02
844 | 1509BC02 | Gypsum Stockyard belt conveyor
845 | 1509BC03 | Reversible belt conveyor in gypsum gantry
846 |  | Gypsum Tipper (2*7.5)
847 | 1509BC02A | Gypsum Bucket elevator feed belt
848 | 1510BC01 | Gypsum stockyard reclaiming belt
849 | 1510MD01 | Chain Bucket elevator for gypsum, hopper feed
850 | 1510AD01 | Aux. Drive for 1510MD01
851 | 1510FN01 | Bag filter fan for 1510MD01
852 | 1510RA01 | RAL for 1510FN01
853 | 1510BC02 | Gypsum/Gitty Reversible Belt Conveyor
854 | 1510FN02 | Bag filter fan at Gypsum hopper top
855 | 1510RA02 | RAL for 1510FN02
856 | 1507BRU01 | Bulk receiving unit-1 for Pond Ash
857 | 1507BRU02 | Bulk receiving unit-2 for Pond Ash
858 | 1507TL01 | Hydraulic truck unloader-1 for Pond Ash
859 | 1507TL02 | Hydraulic truck unloader-2 for Pond Ash
860 | 1507BC01 | Belt conveyor for pond ash at PAH-TT-01
861 | 1507MS01 | Magnetic separator for 1507BC01
862 | 1507MS01-BC01 | Magnetic saperator belt for 1507MS01
863 | 1507VS01 | Vibrating Screen
864 | 1507BC02 | Pond ash stockyard Belt
865 | 1507BC03 | Reversible Belt Conveyor in Pond ash gantry
866 |  | Pond ash Tripeer Belt (2*7.5)
867 | 1507BC02A | Pond ash feed belt to bucket elevator
868 | 1508BC01 | Pond ash stockyard reclaiming belt
869 | 1508MD01 | Bucket elevator for Pond ash
870 | 1508AD01 | Aux. drive for 1508MD01
871 |  | Vibrator
872 |  | Vibrator
873 |  | Vibrator
874 |  | Vibrator
875 |  | UPS JB to MCC
876 |  | Inst Supply to MCC
877 |  | UPS
FlyAsh Unloading MCC
878 | 1505TL01 | Truck tippler
879 | 1505TL02 | Truck tippler
880 | 1505FN03 | Bag filter fan for Dump hopper-1 venting
881 | 1505RA03 | RAL for 1505FN03
882 | 1505FN02 | Bag filter fan for Dump hopper-2 venting
883 | 1505RA02 | RAL for 1505FN02
884 | 1505FN04 | Bag filter fan for fly ash transport at DFH-TT-1
885 | 1505RA04 | RAL for 1505FN04
886 | 1505FN05 | Bag filter fan for fly ash transport at FAH-TT-02
887 | 1505RA05 | RAL for 1505FN05
888 | 1505MD01 | Fly ash HTU bucket elevator
889 | 1505AD01 | Aux. Drive for 1505MD01
890 | 1505FN01 | Bag filter fan for dump bin venting
891 | 1505RA01 | RAL for 1505FN01
892 | 1505BL01 | Root Blower for bin aeration
893 | 1505BL01A | Root Blower for bin aeration (Stand By)
894 | 1505BL02 | Air slide blower for 1505AS01
895 | 1505BL02A | Air slide blower for 1505AS01 (stand By)
896 | 1505MG01 | Motorised gate
897 | 1505HE01 | Heater 1 fly ash dump hopper areation
898 | 1505BL03 | Root blower for dump hopper aeration
899 | 1505BL03A | Root blower for dump hopper aeration (stand By)
900 | 1505MG02 | Motorised gate
901 | 1505BL04 | Air slide blower for 1505AS02
902 | 1505BL04A | Air slide blower for 1505AS02 (stand By)
903 | 1505HE02 | Heater 2 fly ash dump hopper areation
904 | 1505BL05 | Root blower for dump hopper aeration
905 | 1505BL05A | Root blower for dump hopper aeration (stand By)
906 | 1505BL06 | Air slide blower for 1505AS03
907 | 1505BL07 | Air slide blower for 1505AS03
908 | 1505BL08 | Air slide blower for 1505AS03
909 | 1505BL08A | Air slide blower for 1505AS03 (stand By)
910 | 1505BL09 | Air slide blower for 1505AS04
911 | 1505BL10 | Air slide blower for 1505AS04
912 | 1505BL11 | Air slide blower for 1505AS04
913 | 1505BL11A | Air slide blower for 1505AS04 (stand By)
914 | 1505BL12 | Air slide blower for 1505AS05
915 | 1505BL13 | Air slide blower for 1505AS05 (stand By)
916 | 1505BL14 | Air slide blower for 1505AS05 (stand By)
917 | 1505BL14A | Air slide blower for 1505AS05 (stand By)
918 | 1505RF01 | Rotary Air Lock for Dry fly ash Dump Bin
919 |  | UPS JB to MCC
920 |  | Inst Supply to MCC
921 |  | UPS
Cement Mill Feed Part MCC
922 | 1502WF01 | Weigh feeder for clinker hopper
923 | 1502WF02 | Weigh feeder for clinker hopper
924 | 1502WF03 | Weigh feeder for Slag hopper
925 | 1502WF04 | Weigh feeder for Gypsum hopper
926 | 1502WF05 | Weigh feeder for Pond ash hopper
927 | 1502FN01 | Bag filter fan for Clinker hopper extraction at 1502BC01
928 | 1502RA01 | RAL for 1502FN01
929 | 1502FN02 | Bag filter fan for Gypsum & Gitty weigh feeder at 1502BC01
930 | 1502RA02 | RAL for 1502FN02
931 | 1502BC01 | Belt Conveyor below cement mill feed hoppers
932 | 1502MS01 | Magnetic saperator for 1501BC10
933 | 1502MS01-BC01 | Magnetic saperator belt for 1501MS01
934 | 1502FN03 | Bag filter fan for 1502BC02 at CMH-TT-01
935 | 1502RA03 | RAL for 1502FN03
936 | 1508MD02 | Pond ash feed to mill bucket elevator
937 | 1508AD02 | Aux. drive for 1508MD02
938 |  | Vibrator
939 |  | Vibrator
940 |  | Vibrator
941 |  | Vibrator
942 |  | UPS JB to MCC
943 |  | Inst Supply to MCC
944 |  | UPS
Fly Ash Silo Feeding MCC
945 | 1505CP01 | Screw Comperessor - 1
946 | 1505CP02 | Screw Comperessor - 2
947 | 1505MD02 | Fly ash silo feed belt bucket elevator
948 | 1505AD02 | Aux. drive for 1505MD02
949 | 1505FN05 | Bag filter fan for elevator venting
950 | 1505RA05 | RAL for 1505FN05
951 | 1505FN06 | Bag filter fan for flyash silo top venting
952 | 1505RA06 | RAL for 1505FN06
953 | 1505BL15 | Air slide blower for 1505AS06
954 | 1505BL15A | Air slide blower for 1505AS06 (Stand By)
955 | 1505BL16 | Air slide blower for 1505AS07-12
956 | 1505BL17 | Air slide blower for 1505AS07-12
957 | 1505BL17A | Air slide blower for 1505AS07-12(Stand By)
958 |  | UPS JB to MCC
959 |  | Inst Supply to MCC
960 |  | UPS
Fly Ash Extraction MCC
961 | 1506MG01 | Motorized gate-1 silo inside
962 | 1506MG02 | Motorized gate-2 silo inside
963 | 1506MG03 | Motorized gate-3 silo inside
964 | 1506MG04 | Motorized gate-4 silo inside
965 | 1506MG05 | Motorized gate-5 silo inside
966 | 1506MG06 | Motorized gate-6 silo inside
967 | 1506MG07 | Motorized gate-7 silo inside
968 | 1506MG08 | Motorized gate-8 silo inside
969 | 1506CFN01 | Fan for silo cone vent
970 | 1506HE01 | Heater for silo cone
971 | 1506BL01 | Root blower for Flyash silo aeration
972 | 1506BL01A | Root blower for Flyash silo aeration
973 | 1506BL02 | Air slide blower for silo inside air slide
974 | 1506BL02A | Air slide blower for silo inside air slide (stand By)
975 | 1506BL03 | Air slide blower for silo inside air slide
976 | 1506FN01 | Bag filter fan for silo bin & discharge venting
977 | 1506RA01 | RAL for 1506FN01
978 | 1506HE02 | Heater for root blower
979 | 1506BL04 | Root Blower for bin aeration
980 | 1506BL04A | Root Blower for bin aeration
981 | 1506BL05 | Air slide blower for 1506AS10
982 | 1506BL05A | Air slide blower for 1506AS10 (Stand By)
983 | 1506SM01 | Motorized screw sampler
984 | 1506MD01 | Fly ash silo extraction belt bucket elevator
985 | 1506AD01 | Aux. drive for 1506MD01
986 | 1506FN02 | Bag filter fan for 1506MD01
987 | 1506RA02 | RAL for 1506MD01
988 | 1506BL06 | Air slide blower for 1506AS11
989 | 1506BL06A | Air slide blower for 1506AS11 (Stand By)
990 | 1506RF01 | Rotary Feeder
991 | 1506RF02 | Rotary Feeder
992 | 1506SFF01 | Solid flow feeder
993 | 1506SFF01 | Solid flow feeder drive
994 | 1506MG09 | Motorized Gate silo inside
995 |  | UPS JB to MCC
996 |  | Inst Supply to MCC
997 |  | UPS
Clinker Extraction MCC
998 | 1501MG01 | Motorised gate for clinker tank-1
999 | 1501MG02 | Motorised gate for clinker tank-1
1000 | 1501MG03 | Motorised gate for clinker tank-1
1001 | 1501MG04 | Motorised gate for clinker tank-1
1002 | 1501MG05 | Motorised gate for clinker tank-1
1003 | 1501MG06 | Motorised gate for clinker tank-1
1004 | 1501MG07 | Motorised gate for clinker tank-1
1005 | 1501MG08 | Motorised gate for clinker tank-1
1006 | 1501MG09 | Motorised gate for clinker tank-1
1007 | 1501MG10 | Motorised gate for clinker tank-1
1008 | 1501MG11 | Motorised gate for clinker tank-1
1009 | 1501MG12 | Motorised gate for clinker tank-1
1010 | 1501MG13 | Motorised gate for clinker tank-1
1011 | 1501MG14 | Motorised gate for clinker tank-1
1012 | 1501MG15 | Motorised gate for clinker tank-1
1013 | 1501MG16 | Motorised gate for clinker tank-1
1014 | 1501MG17 | Motorised gate for clinker tank-1
1015 | 1501MG18 | Motorised gate for clinker tank-1
1016 | 1501MG19 | Motorised gate for clinker tank-1
1017 | 1501MG20 | Motorised gate for clinker tank-1
1018 | 1501MG21 | Motorised gate for clinker tank-1
1019 | 1501MG22 | Motorised gate for clinker tank-1
1020 | 1501MG23 | Motorised gate for clinker tank-1
1021 | 1501MG24 | Motorised gate for clinker tank-1
1022 | 1501MG25 | Motorised gate for clinker tank-1
1023 | 1501BC01 | Clinker tank extraction belt conveyor below clinker tank-1
1024 | 1501BC02 | Clinker tank extraction belt conveyor below clinker tank-1
1025 | 1501BC03 | Clinker tank extraction belt conveyor below clinker tank-1
1026 | 1501FN01 | Bag filter fan for clinker tank-1 extraction belt 1501BC01 Tail
1027 | 1501RA01 | RAL for 1501FN01
1028 | 1501FN02 | Bag filter fan for clinker tank-1 extraction belt 1501BC02 Tail
1029 | 1501RA02 | RAL for 1501FN02
1030 | 1501FN03 | Bag filter fan for clinker tank-1 extraction belt 1501BC03 Tail
1031 | 1501RA03 | RAL for 1501FN03
1032 | 1501FN01A | Bag filter fan for clinker tank-1 extraction belt 1501BC01 Head
1033 | 1501RA01A | RAL for 1501FN01A
1034 | 1501FN02A | Bag filter fan for clinker tank-1 extraction belt 1501BC02 Head
1035 | 1501RA02A | RAL for 1501FN02A
1036 | 1501FN03A | Bag filter fan for clinker tank-1 extraction belt 1501BC03 Head
1037 | 1501RA03A | RAL for 1501FN03A
1038 | 1501DG01 | Diverting gate for 1501BC10 / 1501BC07
1039 | 1501DG02 | Diverting gate for 1501BC10 / 1501BC07
1040 | 1501DG03 | Diverting gate for 1501BC10 / 1501BC07
1041 | 1501MG26 | Motorised gate for clinker tank-2
1042 | 1501MG27 | Motorised gate for clinker tank-2
1043 | 1501MG28 | Motorised gate for clinker tank-2
1044 | 1501MG29 | Motorised gate for clinker tank-2
1045 | 1501MG30 | Motorised gate for clinker tank-2
1046 | 1501MG31 | Motorised gate for clinker tank-2
1047 | 1501MG32 | Motorised gate for clinker tank-2
1048 | 1501MG33 | Motorised gate for clinker tank-2
1049 | 1501MG34 | Motorised gate for clinker tank-2
1050 | 1501MG35 | Motorised gate for clinker tank-2
1051 | 1501MG36 | Motorised gate for clinker tank-2
1052 | 1501MG37 | Motorised gate for clinker tank-2
1053 | 1501MG38 | Motorised gate for clinker tank-2
1054 | 1501MG39 | Motorised gate for clinker tank-2
1055 | 1501MG40 | Motorised gate for clinker tank-2
1056 | 1501MG41 | Motorised gate for clinker tank-2
1057 | 1501MG42 | Motorised gate for clinker tank-2
1058 | 1501MG43 | Motorised gate for clinker tank-2
1059 | 1501MG44 | Motorised gate for clinker tank-2
1060 | 1501MG45 | Motorised gate for clinker tank-2
1061 | 1501MG46 | Motorised gate for clinker tank-2
1062 | 1501MG47 | Motorised gate for clinker tank-2
1063 | 1501MG48 | Motorised gate for clinker tank-2
1064 | 1501MG49 | Motorised gate for clinker tank-2
1065 | 1501MG50 | Motorised gate for clinker tank-2
1066 | 1501DG04 | Diverting gate for 1501BC10 / 1501BC07
1067 | 1501DG05 | Diverting gate for 1501BC10 / 1501BC07
1068 | 1501DG06 | Diverting gate for 1501BC10 / 1501BC07
1069 | 1501BC04 | Clinker tank extraction belt conveyor below clinker tank-2
1070 | 1501BC05 | Clinker tank extraction belt conveyor below clinker tank-2
1071 | 1501BC06 | Clinker tank extraction belt conveyor below clinker tank-2
1072 | 1501FN04 | Bag filter fan for 1501BC04 Tail
1073 | 1501RA04 | RAL for 1501FN04
1074 | 1501FN05 | Bag filter fan for 1501BC05 Tail
1075 | 1501RA05 | RAL for 1501FN05
1076 | 1501FN06 | Bag filter fan for 1501BC06 Tail
1077 | 1501RA06 | RAL for 1501FN06
1078 | 1501FN04A | Bag filter fan for 1501BC04 Head
1079 | 1501RA04A | RAL for 1501FN04A
1080 | 1501FN05A | Bag filter fan for 1501BC05 Head
1081 | 1501RA05A | RAL for 1501FN05A
1082 | 1501FN06A | Bag filter fan for 1501BC06 Head
1083 | 1501RA06A | RAL for 1501FN06A
1084 | 1501BC07 | Clinker tank extraction belt conveyor at CLH-TT-03
1085 | 1501BC08 | Clinker tank extraction belt conveyor from BE to 1501BC09
1086 | 1501BC09 | Clinker tank extraction reversible belt conveyor at feed hopper building
1087 | 1501FN07 | Bag filter fan for clinker tank-1 extraction belt 1501BC01
1088 | 1501RA07 | RAL for 1501FN07
1089 | 1501FN08 | Bag filter fan for clinker tank-1 extraction belt 1501BC02
1090 | 1501RA08 | RAL for 1501FN08
1091 | 1501FN09 | Bag filter fan for clinker tank-1 extraction belt 1501BC03
1092 | 1501RA09 | RAL for 1501FN09
1093 | 1501FN10 | Bag filter fan for clinker tank-2 extraction belt 1501BC04
1094 | 1501RA10 | RAL for 1501FN10
1095 | 1501FN11 | Bag filter fan for clinker tank-2 extraction belt 1501BC05
1096 | 1501RA11 | RAL for 1501FN11
1097 | 1501FN12 | Bag filter fan for clinker tank-2 extraction belt 1501BC06
1098 | 1501RA12 | RAL for 1501FN12
1099 | 1501FN13 | Bag filter fan for clinker extraction belt 1501BC07 (at CLH TT-3)
1100 | 1501RA13 | RAL for 1501FN13
1101 | 1501FN14 | Bag filter fan for clinker at CM hopper top
1102 | 1501RA14 | RAL for 1501FN14
1103 | 1501MS01 | Magnetic saperator for 1501BC10
1104 | 1501MS01-BC01 | Magnetic saperator belt for 1501MS01
1105 | 1501MD01 | Clinker feed Bucket elevator
1106 | 1501AD01 | Aux. drive for 1501MD01
1107 |  | UPS JB to MCC
1108 |  | Inst Supply to MCC
1109 |  | UPS
Cement Mill Feeding MCC
1110 | 1502BC02 | Belt conveyor for fresh feed to mill feed elevator
1111 | 1502MS01 | Magnetic Separator
1112 | 1502MS01-BC01 | Magnetic Separator Belt
1113 | 1502MD01 | Cement mill fresh feed elevator
1114 | 1502AD01 | Aux. drive for 1502MD01
1115 | 1502FN04 | Bag filter fan for reject hopper1502HP06 at CM building top
1116 | 1502RA04 | RAL for 1502FN04
1117 | 1502FN05 | Bag filter fan for 1502MD01 at CM building bottom
1118 | 1502RA05 | RAL for 1502FN05
1119 | 1502BC03 | Elevator reject belt for mill feed /reject bin feed
1120 | 1502RF01 | Rotary feeder at mill intet
1121 | 1502RF02 | Rotary feeder
1122 | 1502CG01 | Claim Shell Gate
1123 | 1502BC04 | Reject belt belowreject bin to recirculation
1124 | 1502BC05 | Cement mill reject recirculation conveyor-2
1125 | 1503FV01 | Mill Reject flap valve -1
1126 | 0 | Cement Mill MD LRS Supply
1127 | 0 | Cement Mill MD LRS Pump
1128 | 0 | Cement Mill MD Actuator
1129 | 0 | Bag House fan GRR Supply
1130 | 1503AD01 | Cement Mill Aux. Drive
1131 | 1503HY01 M01 | Hydraulic system Cond. Pump
1132 | 1503HY01 M02 | Hydraulic system Pressure Pump-1
1133 | 1503HY01 M03 | Hydraulic system Pressure Pump-2
1134 | 1503HY02 | Swing Out Hydraulic Power Unit
1135 | 1503LQ05 | Separator Gearbox Lubrication Pump
1136 | 1503LQ05AC | Separator Gearbox Air Cooler
1137 | 1503LQ05HE | Separator GB Heating Element
1138 | 1502BC07 | Cement mill reject recirculation conveyor-1
1139 | 1502BC08 | Cement mill reject recirculation conveyor-2
1140 |  | Mill Reject flap valve -2
1141 | 1503LQ05LU | Separator Gearbox Grease Lub. Unit
1142 | 1503LQ01M01 | Mill GB Low Pressure Pump
1143 | 1503LQ01M02 | Mill GB Low Pressure Pump
1144 | 1503LQ01M03 | Mill GB High Pressure Pump-1
1145 | 1503LQ01M04 | Mill GB High Pressure Pump-2
1146 | 1503LQ01M05 | Mill GB High Pressure Pump-3
1147 | 1503LQ01M06 | Mill GB High Pressure Pump-4
1148 | 1503LQ01HE01 | Mill GB Heating Element
1149 | 1503LQ03M01 | Conditioning Pump
1150 | 1503LQ02M02 | Feed Pump - Roller 1
1151 | 1503LQ02M03 | Feed Pump - Roller 2
1152 | 1503LQ02M05 | Return Pump - Roller 1
1153 | 1503LQ02M06 | Return Pump - Roller 2
1154 | 1503LQ02HE01 | Heating Element - Cold Side
1155 | 1503LQ02HE02 | Heating Element- Hot Side
1156 | 1503LQ02M01 | Conditioning Pump
1157 | 1503LQ03M02 | Feed Pump - Roller 3
1158 | 1503LQ03M03 | Feed Pump - Roller 4
1159 | 1503LQ03M05 | Return Pump - Roller 3
1160 | 1503LQ03M06 | Return Pump - Roller 4
1161 | 1503LQ03HE01 | Heating Element - Cold Side
1162 | 1503LQ03HE02 | Heating Element - Hot Side
1163 | 1503LQ04M01 | Conditioning Pump
1164 | 1503LQ04M02 | Feed Pump - Roller 5
1165 | 1503LQ04M03 | Feed Pump - Roller 6
1166 | 1503LQ04M05 | Return Pump - Roller 5
1167 | 1503LQ04M06 | Return Pump - Roller 6
1168 | 1503LQ04HE01 | Heating Element - Cold Side
1169 | 1503LQ04HE02 | Heating Element- Hot Side
1170 | 1503WP01 | Water spray pump - 1
1171 | 1503WP01A | Water spray pump - 1
1172 | 1503LQ02HC01 | Heat Tracing Cable - Roller 1 to Roller 6
1173 | 531GS114 | Grease Lub. Unit- Roller -1 to Roller 6
1174 | WP-5 | Return Pump-1 Grinding
1175 | WP-6 | Return Pump-2 Grinding
1176 | 1503GS02 | Grease Lubrication Unit - Separator
1177 | 1508BC03 | Pond ash feed conveyor
1178 | 1508BC02 | Pond ash conveyor from feed hopper to cement mill feed conveyor
1179 | 1407BL01 | Blower for local furnace
1180 | 1407BL02 | Blower for local furnace
1181 | 1407BL03 | Blower for local furnace
1182 | 1407SD01 | Shut off damper for local furnace
1183 | 1508RF1 | Pond Ash Mill Feeding RA
1184 |  | Belt conveyor for AFR
1185 |  | Vibrator
1186 |  | Vibrator
1187 |  | Feed Part MCC Outgoing
1188 |  | UPS JB to MCC
1189 |  | Inst Supply to MCC
1190 |  | UPS
Cement Mill Baghouse & Transport MCC
1191 | 1504RF01 | RAL for bag house fan
1192 | 1504RF02 | RAL for bag house fan
1193 | 1504RF03 | RAL for bag house fan
1194 | 1504RF04 | RAL for bag house fan
1195 | 1504RF05 | RAL for bag house fan
1196 | 1504RF06 | RAL for bag house fan
1197 | 1504RF07 | RAL for bag house fan
1198 | 1504RF08 | RAL for bag house fan
1199 | 1504RF09 | RAL for bag house fan
1200 | 1504RF10 | RAL for bag house fan
1201 | 1504RF11 | RAL for bag house fan
1202 | 1504RF12 | RAL for bag house fan
1203 | 1504HT01 | Heater for 1503BH1
1204 | 1504HT02 | Heater for 1503BH1
1205 | 1504HT03 | Heater for 1503BH1
1206 | 1504HT04 | Heater for 1503BH1
1207 | 1504HT05 | Heater for 1503BH1
1208 | 1504HT06 | Heater for 1503BH1
1209 | 1504HT07 | Heater for 1503BH1
1210 | 1504HT08 | Heater for 1503BH1
1211 | 1504HT09 | Heater for 1503BH1
1212 | 1504HT10 | Heater for 1503BH1
1213 | 1504HT11 | Heater for 1503BH1
1214 | 1504HT12 | Heater for 1503BH1
1215 | 1504BL01 | Air slide blower for 1504AS01
1216 | 1504BL02 | Air slide blower for 1504AS02
1217 | 1504BL01A | Air slide blower for 1504AS01 & 1504AS02 (Stand By)
1218 | 1504BL03 | Air slide blower for 1504AS03
1219 | 1504BL04 | Air slide blower for 1504AS04
1220 | 1504BL03A | Air slide blower for 1504AS04 (Stand By)
1221 | 1504BL05 | Air slide blower for 1504AS05
1222 | 1504BL05A | Air slide blower for 1504AS05 (Stand By)
1223 | 1504BL06 | Air slide blower for 1504AS05
1224 | 1504BL07 | Air slide blower for 1504AS05
1225 | 1504BL08 | Air slide blower for 1504AS05
1226 | 1504FN01 | Bag filter fan for 1504AS05 below CMBH
1227 | 1504RA01 | RAL for 1504FN01
1228 | 1503LD01 | Bag house vent fan inlet damper
1229 | 1503LD04 | From Mill Fan To Stack
1230 | 1503LD03 | In Recirculation Duct
1231 | 1503LD02 | In Fresh Air Duct
1232 | 1504SM01 | Sampler
1233 | 1504MD01 | Cement silo feed Bucket elevator
1234 | 1504AD01 | Aux. Drive for bucket elevator
1235 | 1504FN01A | Bag filter fan for 1504MD01
1236 | 1504RA01A | RAL for 1504FN02
1237 | 1504BL12 | Air slide blower for 1504AS07
1238 | 1504BL13 | Air slide blower for 1504AS07
1239 | 1504BL13A | Air slide blower for 1504AS07 (Stand By)
1240 | 1504FN03 | Bag filter fan for Silo-1 top
1241 | 1504RA03 | RAL for 1504FN03
1242 | 1504BL14 | Air slide blower for 1504AS08-13
1243 | 1504BL15 | Air slide blower for 1504AS08-13
1244 | 1504BL15A | Air slide blower for 1504AS08-13 (Stand By)
1245 | 1504BL16 | Air slide blower for 1504AS06
1246 | 1504BL16A | Air slide blower for 1504AS06 (Stand By)
1247 | 1504FN04 | Bag filter fan for OPC silo top venting
1248 | 1504RA04 | RAL for 1504FN04
1249 | 1504BL17 | Air slide blower for 1504AS14-19
1250 | 1504BL18 | Air slide blower for 1504AS14-19
1251 | 1504BL18A | Air slide blower for 1504AS14-19 (stand By)
1252 | 1504FN05 | Bag filter fan for silo-3 top
1253 | 1504RA05 | RAL for 1504FN05
1254 | 1601BL19 | Air slide blower for 1504AS06A (Stand By)
1255 | 1601BL19A | Air slide blower for 1504AS06A
1256 | 1601BL20 | Air slide blower for 1504AS06A
1257 | 1601BL21 | Air slide blower for 1504AS06A
1258 | 1504BL22 | Air slide blower for 1504AS20-25
1259 | 1504BL22A | Air slide blower for 1504AS20-25 (Stand By)
1260 | 1504BL23 | Air slide blower for 1504AS20-25
1261 | 1504FN06 | Bag filter fan for silo-4 top
1262 | 1504RA06 | RAL for 1504FN06
1263 | 1504BL24 | Air slide blower for 1504AS06B
1264 | 1504BL24A | Air slide blower for 1504AS06B
1265 | 1504BL25 | Air slide blower for 1504AS06B (Stand By)
1266 | 1504BL26 | Air slide blower for 1504AS06B
1267 | 1504BL27 | Air slide blower for 1504AS26-31
1268 | 1504BL27A | Air slide blower for 1504AS26-31
1269 | 1504BL28 | Air slide blower for 1504AS26-31 (Stand By)
1270 | 1503OP01 | Opacity meter for stack
1271 | 1504BL09 | Air slide blower for 1504AS05
1272 | 1504BL09A | Air slide blower for 1504AS05 (Stand By)
1273 | 1504BL10 | Air slide blower for 1504AS05
1274 | 1504BL11 | Air slide blower for 1504AS05
1275 |  | UPS JB to MCC
1276 |  | Inst Supply to MCC
1277 |  | UPS
Packer - 2 MCC
1278 | 1601MG01 | Silo Inside MG-1
1279 | 1601MG02 | Silo Inside MG-2
1280 | 1601MG03 | Silo Inside MG-3
1281 | 1601MG04 | Silo Inside MG-4
1282 | 1601MG05 | Silo Inside MG-5
1283 | 1601MG06 | Silo Inside MG-6
1284 | 1601MG07 | Silo Inside MG-7
1285 | 1601MG08 | Silo Inside MG-8
1286 | 1601CFN01 | Cone vent fan for cement silo PCC
1287 | 1601FN01 | Bag filter fan for silo-1 bin venting
1288 | 1601RA01 | RAL for 1601FN01
1289 | 1601BL01 | Root Blower for silo-1 inside aeration
1290 | 1601BL01A | Root Blower for silo-1 inside aeration
1291 | 1601BL02 | Root Blower for silo-1 inside aeration
1292 | 1601BL03 | Root Blower for silo-1 bin aeration
1293 | 1601BL03A | Root Blower for silo-1 bin aeration (Stand By)
1294 | 1601BL4 | Air slide blower for silo inside 1601 AS-1-8
1295 | 1601BL4A | Air slide blower for silo inside 1601 AS-1-8
1296 | 1601BL5 | Air slide blower for silo inside 1601 AS-1-8
1297 | 1602MG1 | Silo Inside MG-1
1298 | 1602MG2 | Silo Inside MG-2
1299 | 1602MG3 | Silo Inside MG-3
1300 | 1602MG4 | Silo Inside MG-4
1301 | 1602MG5 | Silo Inside MG-5
1302 | 1602MG6 | Silo Inside MG-6
1303 | 1602MG7 | Silo Inside MG-7
1304 | 1602MG8 | Silo Inside MG-8
1305 | 1602CFN1 | Cone vent fan for cement silo PSC
1306 | 1602FN1 | Bag filter fan for silo-2 bin venting
1307 | 1602RA1 | RAL for 1602FN01
1308 | 1602BL01 | Root Blower for silo-2 Inside aeration
1309 | 1602BL01A | Root Blower for silo-2 inside aeration
1310 | 1602BL02 | Root Blower for silo-2 inside aeration
1311 | 1602BL03 | Root Blower for silo-2 bin aeration
1312 | 1602BL03A | Root Blower for silo-2 bin aeration (Stand By)
1313 | 1602BL04 | Air slide blower for Silo Inside 1602 AS-1-8
1314 | 1602BL04A | Air slide blower for Silo Inside 1602 AS-1-8
1315 | 1602BL5 | Air slide blower for Silo Inside 1602 AS-1-8
1316 | 1702MG01 | Motorized gate for cement silo bin extraction air slide
1317 | 1702MG02 | Motorized gate for cement silo bin extraction air slide
1318 | 1702MG03 | Motorized gate for cement silo bin extraction air slide
1319 | 1705MG01 | Motorized gate for cement silo bin extraction air slide
1320 | 1702BL01 | Air slide blower for Air Slide 1702AS01
1321 | 1702BL01A | Air slide blower for Air Slide 1702AS01 (stand By)
1322 | 1702BL02 | Air slide blower for Air Slide 1702AS01
1323 | 1702BL03 | Air slide blower for 1702AS02
1324 | 1702BL03A | Air slide blower for 1702AS02
1325 | 1702BL04 | Air slide blower for 1702AS03
1326 | 1702MD1 | Packing plant Feed Elevator 2
1327 | 1702AD1 | Auxiliary drive for bucket elevator 1704BE1
1328 | 1702FN01 | Bag Filter for Bucket Elevator & air slide
1329 | 1702RA01 | RAL for 1702FN01
1330 | 1702FN02 | Bag filter for Packer 1 dedusting
1331 | 1702RA02 | RAL for 1702FN02
1332 | 1702FN03 | Bag filter for Packer 1 auxiliary dedusting
1333 | 1702RA03 | RAL for 1702FN03
1334 | 1702DG1 | Motorized diverter
1335 | 1702BL5 | Air Slide Blower for 1702AS03
1336 | 1702BL5A | Air Slide Blower for 1702AS03
1337 | 1702VS1 | Vibrating screen
1338 | 1705BL01 | Air Slide Blower for 1705AS01
1339 | 1705BL01A | Air Slide Blower for 1705AS01
1340 | 1702BL6 | Root blower for Packing Plant Bin aeration
1341 | 1702PK1 | packer impeller drive motor with VFD
1342 | 0 | Packer drive gear motor with VVF Drive
1343 | 1702BC1 | Radial Belt Conveyor
1344 | 1702BC2 | Belt Conveyor
1345 | 1702BC3 | Tangential Belt Conveyor
1346 | 1702CRC1 | Curve roller Conveyor (roller table)
1347 | 1702BC4 | Belt Conveyor
1348 | 1702BD1 | Bag Diverter
1349 | 1702BD2 | Bag Diverter
1350 | 1702BD3 | Bag Diverter
1351 | 1702BD4 | Bag Diverter
1352 | 1702BD5 | Bag Diverter
1353 | 1702BD6 | Bag Diverter
1354 | 1702BD7 | Bag Diverter
1355 | 1702BD8 | Bag Diverter
1356 | 1702BC5 | Belt Conveyor feed belt for truck loader
1357 | 1702BC6 | Belt Conveyor feed belt for truck loader
1358 | 1702BC7 | Belt Conveyor feed belt for truck loader
1359 | 1702BC8 | Belt Conveyor feed belt for truck loader
1360 | 1702TL1 | Truck loader 1
1361 | 1702TL2 | Truck loader 2
1362 | 1702TL3 | Truck loader 3
1363 | 1702TL4 | Truck loader 4
1364 | 1702BL07 | Air slide Blower for Air Slide Below Packer II spillage air slide 1702AS4
1365 | 1702BL07A | Air slide Blower for Air Slide Below Packer II spillage air slide 1702AS4 Standby
1366 | 1700CP1 | Cleaning Comperessor
1367 | 1700CP2 | Compressor-1 for packing plant 1
1368 | 1700CF2 | Cooling fan for compressor-1
1369 | 1700RD2 | Radiator fan for compressor-1
1370 |  | UPS JB to MCC
1371 |  | Inst Supply to MCC
1372 |  | UPS
Packer - 3 MCC
1373 | 1603MG1 | Silo Inside MG-1
1374 | 1603MG2 | Silo Inside MG-2
1375 | 1603MG3 | Silo Inside MG-3
1376 | 1603MG4 | Silo Inside MG-4
1377 | 1603MG5 | Silo Inside MG-5
1378 | 1603MG6 | Silo Inside MG-6
1379 | 1603MG7 | Silo Inside MG-7
1380 | 1603MG8 | Silo Inside MG-8
1381 | 1603CFN1 | Cone vent fan for cement silo PSC
1382 | 1603FN1 | Bag filter for bin venting
1383 | 1603RA1 | RAL for 1603FN01
1384 | 1603BL01 | Root Blower silo-3 inside aeration
1385 | 1603BL01A | Root Blower silo-3 inside aeration
1386 | 1603BL02 | Root Blower silo-3 inside aeration
1387 | 1603BL03 | Root blower for silo bin aeration
1388 | 1603BL03A | Root blower for silo bin aeration
1389 | 1603BL4 | Air slide blower for Silo Inside 1603 AS-1-8
1390 | 1603BL4A | Air slide blower for Silo Inside 1603 AS-1-8
1391 | 1603BL5 | Air slide blower for Silo Inside 1603 AS-1-8
1392 | 1703MG01 | RAL for 1603FN01
1393 | 1703MG02 | RAL for 1603FN01
1394 | 1703MG03 | RAL for 1603FN01
1395 | 1703BL01 | Air slide blower for 1703AS01
1396 | 1703BL01A | Air slide blower for 1703AS01 (Stand By)
1397 | 1703BL02 | Air slide blower for 1703AS01
1398 | 1703BL03 | Air slide blower for 1703AS02
1399 | 1703BL03A | Air slide blower for 1703AS02 (Stand By)
1400 | 1703BL04 | Air slide blower for 1703AS03
1401 | 1703BL04A | Air slide blower for 1703AS03 (Stand By)
1402 | 1703BL05 | Air slide blower for 1703AS03 (Stand By)
1403 | 1703BL06 | Air slide blower for 1703AS03 (Stand By)
1404 | 1703MD1 | Packing plant Feed Elevator 3
1405 | 1703AD1 | Auxiliary drive for bucket elevator 1701BE1
1406 | 1703FN1 | Bag Filter for Bucket Elevator & air slide
1407 | 1703RA1 | RAL for 1703FN01
1408 | 1703FN2 | Bag filter for Packer 3 dedusting
1409 | 1703RA2 | RAL for 1703FN02
1410 | 1703FN3 | Bag filter for Packer 1 auxiliary dedusting
1411 | 1703RA3 | RAL for 1703FN03
1412 | 1705MG02 | Motorized gate for cement silo bin extraction air slide
1413 | 1705MG03 | Motorised gate for bulker loading spout
1414 | 1705MG04 | Motorised gate for bulker loading air slide
1415 | 1705FN01 | Bag filter fan for bulker loading
1416 | 1705RA01 | Rotary Air Lock for 1705FN01
1417 | 1705SP01 | Horizontal Positioner
1418 | 1705BS01 | Bulk Loading Spout
1419 | 1705BL02 | Root blower for Cement bulk unloading
1420 | 1705BL02A | Root blower for Cement bulk unloading
1421 | 1703VS1 | Vibrating screen
1422 | 1703BL7 | Root blower for Packing Plant Bin aeration
1423 | 1703BL7A | Root blower for Packing Plant Bin aeration (Stand by)
1424 | 1703PK1 | packer impeller drive motor with VFD
1425 | 0 | Packer drive gear motor with VVF Drive
1426 | 1703BC1 | Radial Belt Conveyor
1427 | 1703BC2 | Belt Conveyor
1428 | 1703BC3 | Tangential Belt Conveyor
1429 | 1703CRC1 | Curve roller Conveyor (roller table)
1430 | 1703BC4 | Belt Conveyor
1431 | 1703BD1 | Bag Diverter
1432 | 1703BD2 | Bag Diverter
1433 | 1703BD3 | Bag Diverter
1434 | 1703BD4 | Bag Diverter
1435 | 1703BD5 | Bag Diverter
1436 | 1703BD6 | Bag Diverter
1437 | 1703BD7 | Bag Diverter
1438 | 1703BD8 | Bag Diverter
1439 | 1703BC5 | Belt Conveyor feed belt for truck loader
1440 | 1703BC6 | Belt Conveyor feed belt for truck loader
1441 | 1703BC7 | Belt Conveyor feed belt for truck loader
1442 | 1703BC8 | Belt Conveyor feed belt for truck loader
1443 | 1703TL1 | Truck loader 1
1444 | 1703TL2 | Truck loader 2
1445 | 1703TL3 | Truck loader 3
1446 | 1703TL4 | Truck loader 4
1447 | 1703BL08 | Air slide Blower for Air Slide Below Packer III spillage air slide 1703AS04
1448 | 1703BL08A | Air slide Blower for Air Slide Below Packer III spillage air slide 1703AS04 Standby
1449 | 1703BL09 | Air slide blower for 1703AS04A
1450 | 1703BL09A | Air slide blower for 1703AS04A
1451 | 1700CP3 | Cleaning comperessor - 2
1452 | 1700CP4 | Compressor-1 for packing plant 1
1453 | 1700CF4 | Cooling fan for compressor-1
1454 | 1700RD4 | Radiator fan for compressor-1
1455 |  | UPS JB to MCC
1456 |  | Inst Supply to MCC
1457 |  | UPS
Packer-4 MCC
1458 | 1604MG1 | Silo Inside MG-1
1459 | 1604MG2 | Silo Inside MG-2
1460 | 1604MG3 | Silo Inside MG-3
1461 | 1604MG4 | Silo Inside MG-4
1462 | 1604MG5 | Silo Inside MG-5
1463 | 1604MG6 | Silo Inside MG-6
1464 | 1604MG7 | Silo Inside MG-7
1465 | 1604MG8 | Silo Inside MG-8
1466 | 1604CFN01 | Fan for silo-4 cone vent
1467 | 1604FN01 | Bag filter fan for silo-4 bin venting
1468 | 1604RA01 | RAL for 1604FN01
1469 | 1604BL01 | Root Blower for silo-4 inside areation
1470 | 1604BL01A | Root Blower for silo-4 inside areation
1471 | 1604BL02 | Root Blower for silo-4 inside areation
1472 | 1604BL03 | Root blower for silo-4 bin areation
1473 | 1604BL03A | Root blower for silo-4 bin areation (Stand By)
1474 | 1604BL04 | Air slide blower for silo-4 indise airslide
1475 | 1604BL04A | Air slide blower for silo-4 indise airslide (Stand By)
1476 | 1604BL05 | Air slide blower for silo-4 indise airslide
1477 | 1704MG01 | Motorized gate for Silo-1
1478 | 1704MG02 | Motorized gate for Silo-2
1479 | 1704MG03 | Motorized gate for Silo-3
1480 | 1700MG02 | MG from Silo-4 to Common Air Slide
1481 | 1700MG02 | MG from Silo-3 to Common Air Slide
1482 | 1700BL01 | Air slide blower for 1700AS01
1483 | 1700BL01A | Air slide blower for 1700AS01(Stand By)
1484 | 1700BL02 | Air slide blower for 1700AS02
1485 | 1700BL02A | Air slide blower for 1700AS02 (Stand By)
1486 | 1700BL03 | Air slide blower for 1700AS03
1487 | 1700BL03A | Air slide blower for 1700AS03 (Stand By)
1488 | 1700BL04 | Air slide blower for 1700AS03
1489 | 1700BL05 | Air slide blower for 1700AS03
1490 | 1700MD01 | Cement silo extraction Bucket elevator
1491 | 1700AD01 | Aux. drive for 1700MD01
1492 | 1700FN01 | Bag filter fan for 1700MD01
1493 | 1700RA01 | RAL for 1700FN01
1494 | 1700 BL06 | Air Slide Blower for 17020AS05
1495 | 1700BL06A | Air Slide Blower for 17020AS05 (Stand By)
1496 | 1700BL07 | Air Slide Blower for 17020AS05
1497 | 1704BL01 | Air slide blower for 1701AS04
1498 | 1704BL01A | Air slide blower for 1701AS04 (Stand By)
1499 | 1704BL02 | Air slide blower for 1701AS04
1500 | 1704BL03 | Air slide blower for 1704AS02
1501 | 1704BL03A | Air slide blower for 1704AS02 (Stand By)
1502 | 1704BL04 | Air slide blower for 1704AS03
1503 | 1704BL04A | Air slide blower for 1704AS03 (Stand By)
1504 | 1704BL05 | Air slide blower for 1704AS03 (Stand By)
1505 | 1704MD01 | Packing plant Feed Elevator 4
1506 | 1704AD01 | Aux. drive for 1704MD01
1507 | 1704FN1 | Bag Filter for Bucket Elevator & air slide
1508 | 1704RA1 | RAL for 1704FN01
1509 | 1704FN2 | Bag filter for Packer 1 dedusting
1510 | 1704RA2 | RAL for 1704FN02
1511 | 1704FN3 | Bag filter for Packer 1 auxiliary dedusting
1512 | 1704RA3 | RAL for 1704FN03
1513 | 1704VS1 | Vibrating screen
1514 | 1704BL6 | Root blower for Packing Plant Bin aeration
1515 | 1704PK1 | packer impeller drive motor with VFD
1516 | 0 | Packer drive gear motor with VVF Drive
1517 | 1704BC1 | Radial Belt Conveyor
1518 | 1704BC2 | Long Belt Conveyor
1519 | 1704BC3 | Tangential Belt Conveyor
1520 | 1704CRC1 | Curve roller Conveyor (roller table)
1521 | 1704BC4 | Long Belt Conveyor
1522 | 1704BD1 | Bag Diverter
1523 | 1704BD2 | Bag Diverter
1524 | 1704BD3 | Bag Diverter
1525 | 1704BD4 | Bag Diverter
1526 | 1704BD5 | Bag Diverter
1527 | 1704BD6 | Bag Diverter
1528 | 1704BD7 | Bag Diverter
1529 | 1704BD8 | Bag Diverter
1530 | 1704BC5 | Belt Conveyor feed belt for TL-1
1531 | 1704BC6 | Belt Conveyor feed belt for TL-2
1532 | 1704BC7 | Belt Conveyor feed belt for TL-3
1533 | 1704BC8 | Belt Conveyor feed belt for TL-4
1534 | 1704TL1 | Truck loader 1
1535 | 1704TL2 | Truck loader 2
1536 | 1704TL3 | Truck loader 3
1537 | 1704TL4 | Truck loader 4
1538 | 1704BL7 | Air slide fan for Air Slide Below Packer IV spillage air slide 1704AS04
1539 | 1704BL7A | Air slide fan for Air Slide Below Packer IV spillage air slide 1704AS04A Standby
1540 | 1704VC01 | Vinar conveyor (Common for all packer)
1541 |  | UPS JB to MCC
1542 |  | Inst Supply to MCC
1543 |  | UPS
Comperessor MCC
1544 | CP1 | Compressor-1
1545 | CP1_RF | Radiator fan for CP-1
1546 | CP1_CF | Cooling fan for CP-1
1547 | CP2 | Compressor-2
1548 | CP2_RF | Radiator fan for CP-2
1549 | CP2_CF | Cooling fan for CP-2
1550 | CP3 | Compressor-3
1551 | CP3_RF | Radiator fan for CP-3
1552 | CP3_CF | Cooling fan for CP-3
1553 | CP4 | Compressor-4
1554 | CP4_RF | Radiator fan for CP-4
1555 | CP4_CF | Cooling fan for CP-4
1556 | CP5 | Compressor-5
1557 | CP5_RF | Radiator fan for CP-5
1558 | CP5_CF | Cooling fan for CP-5
1559 | CP7 | Screw Compressor
1560 | CP8 | Screw Compressor
1561 |  | UPS JB to MCC
1562 |  | Inst Supply to MCC
1563 |  | UPS
Water Supply MCC
1564 | WP1 | Process Water Pump - 1 Grinding
1565 | WP2 | Process Water Pump - 2 Grinding
1566 | WP3 | Raw Water Pump - 1 Grinding
1567 | WP4 | Raw Water Pump - 2 Grinding
1568 | WP7 | Process Water Pump - 1 Pyro
1569 | WP8 | Process Water Pump - 2 Pyro
1570 | WP9 | Process Water Pump - 3 Pyro
1571 | WP10 | Raw Water Pump - 1 Pyro
1572 | WP11 | Raw Water Pump - 2 Pyro
1573 | WP12 | Cooling tower Pump - 3
1574 | WP13 | Cooling tower Pump - 1
1575 | WP14 | Cooling tower Pump - 2
1576 | WP15 | Raw Water Pump Softner - 1 Pyro
1577 | WP16 | Raw Water Pump Softner - 2 Pyro
1578 |  | Water pump for centrifugal compressor
1579 |  | Water pump for centrifugal compressor
1580 |  | UPS JB to MCC
1581 |  | Inst Supply to MCC
1582 |  | UPS
Utility MCC
1583 | WP17 | Pump from 2000KL water tank to township
1584 | WP18 | Pump from 2000KL water tank to township
1585 | WP19 | Pump from 2000KL water tank to crusher
1586 |  | Pump from 5000KL water tank to 2000KL
1587 |  | Pump from 5000KL water tank to 2000KL
1588 |  | Pump from 5000KL water tank to Power Plant
1589 |  | Pump from 5000KL water tank to Power Plant
1590 |  | UPS JB to MCC
1591 |  | Inst Supply to MCC
1592 |  | UPS
AC and P&V MCC for Material Handling LC
1593 | PV_BL1 | P&V Blower (W)
1594 | PV_BL2 | P&V Blower (S)
1595 | PV_WP1 | P&V Water Pump
1596 | PV_WP2 | P&V Water Pump
1597 |  | AC Feeder for offfices
1598 |  | AC Feeder for IO & VFD Room
1599 |  | AC Feeder for MVD Room
1600 | 1510EH01 | Electrical Hoist for 15010MD01
1601 | 1508EH01 | Electrical Hoist for 1508MD01
1602 |  | UPS JB to MCC
1603 |  | Inst Supply to MCC
1604 | 1505EH01 | Electrical Hoist for 1505MD01
AC and P&V MCC for Cement Mill LC
1605 | PV_BL1 | P&V Blower (W)
1606 | PV_BL2 | P&V Blower (S)
1607 | PV_WP1 | P&V Water Pump (W)
1608 | PV_WP2 | P&V Water Pump (S)
1609 |  | AC Feeder for IO Room
1610 |  | AC Feeder forMVD Room
1611 |  | AC Feeder for offfices
1612 | 1505EH02 | Electrical Hoist for 1505MD02
1613 | 1506EH01 | Electrical Hoist for 1506MD01
1614 | 1501EH01 | Electrical Hoist for 1501MD01
1615 | 1502EH01 | Electrical Hoist for 1502MD01
1616 | 1504EH01 | Electrical Hoist for 1504MD01
1617 |  | UPS JB to MCC
1618 |  | UPS JB to MCC
1619 | 1406EH01 | Electrical Hoist for 1406MD01
AC and P&V MCC for PP LC
1620 | PV_BL1 | P&V Blower (W)
1621 | PV_BL2 | P&V Blower (S)
1622 | PV_WP1 | P&V Water Pump (W)
1623 | PV_WP2 | P&V Water Pump (S)
1624 |  | AC Feeder for IO Room
1625 |  | AC Feeder for offfices
1626 |  | EOT for Bag unloading
1627 |  | EOT For Bag Handling
1628 | 1704VC1 | Vinar Conveyor
1629 | 1700EH01 | Electrical Hoist for 1700MD01
1630 |  | UPS JB to MCC
1631 |  | UPS JB to MCC
1632 | 1704EH01 | Electrical Hoist